## Sheet1
|  |  | As Observed Filtergrams |  |  |  | Modified Filtergrams |  |  | HMI Observables |  |  | Remapped Observables
Series: |  |  | Level 0.0 | Level 0.1 | Level 0.3 | Level 0.5 | Planning | Level 0.8 | Level 0.9 | Level 1.0 per Observable | Level 1.1 per Observable | Level 1.5 per Observable
Image duration |  |  | Permanent |  |  |  | Temp 5d | Temp, 2d | Temp 30d | Temp 2d |  | Permanent, online
Purpose |  |  | Archivable | Quicklook for ops | Quiclklook for processing | Primary for processing | JOSC-IOPS quicklook data for ops support and planning | Flat Fielded for Quicklook processing | Flat fielded input to final processing | Calibrated observables for quicklook processing, recent | Calibrated observables for quicklook processing, complete. | Calibrated observables for primary processing
Action |  |  | Extract from tlm | Gather keywords | Gather keywords | Gather and update keywords | Subsample and export | Identify bad pixels, apply flat field, find limb | Identify bad pixels, apply flat field, find limb | Compute observables as-is, i.e. no pixel interpolation or complex calcs. | Link to Level 1.0 or Level 1.5 when avaliable | Compute observables using best available methods
Source series |  |  | .tlm files | Level 0.0 | Level 0.1 | Level 0.3 | Level 0.1 | Level 0.3 | Level 0.5 | Level 0.8 | Level 1.0 and Level 1.5 | Level 0.9
Segments |  |  | HMI: 1 segment; AIA 4 segments (full image, ROI-1, ROI-2, ROI-3 | link to Level 0.0 | link to Level 0.0 | link to Level 0.0 | Subsampled and exported to IOPS | HMI: 1 segment; AIA 4 segments (full image, ROI-1, ROI-2, ROI-3 | HMI: 1 segment; AIA 4 segments (full image, ROI-1, ROI-2, ROI-3 | HMI: Doppler, Blos, Ic | HMI: Doppler, Blos, Ic: link to Level 1.0 then 1.5 when available | HMI: fd_V, fd_M, fd_Ic, fd_Bvect,…
Keywords DRMS names | FITS export names | Keyword synopsis | keywords from HSB image header and ground tables needed to unpack image | Add Image Status Packet and sequencer packet info | Add selected or averaged info from other HK packets. Also FDS derived orbit predicts, and command log purpose info | Add FDS final orbit data if changed, Selected or averaged other keywords from HK dayfile data. Also SDO HK data such as roll actuals. | modify image scale as needed | Add Flat field history, bad pixel info, fit image center info and fit radius | Add Flat field history, bad pixel info, fit image center info and fit radius | Omit many lev0 keywords, point to lev0 image range, add cal table info, stats, etc | Omit many lev0 keywords, point to lev0 image range, add cal table info, stats, etc | Omit many lev0 keywords, point to lev0 image range, add cal table info, stats, etc
DATE | ← | Record creation date | actual | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | actual | actual | actual
FSN | ← | Filtergram Serial Number | actual | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | n.a. | n.a. | n.a.
CAMERA | ← | HMI:0,1, AIA:0-3 | actual | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | n.a. | n.a. | n.a.
WAVE_LEN | ← | HMI: 617.3, AIA: various
T_OBS | ← | Time of observation (center) | est | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | compute | compute | compute
MISSVALS | ← | number of missing values | actual | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | compute | compute | compute | compute | compute
QUAL_TLM | ← | Quality flags from telemetry | actual | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | ≡ level 0 | n.a. | n.a. | n.a.
QUAL_CFG | ← | Quality flags from inst/sdo config | n.a. | n.a. | logs | SDO HK | n.a. | ≡ level 0.5 | ≡ level 0.5 | OR of level 0.5 | OR of level 0.5 | OR of level 0.5
CTYPEi | ← | Axis type | RAW | RAW | RAW | RAW | RAW | SOLAR_{X,Y} | SOLAR_{X,Y} | SOLAR_{X,Y} | SOLAR_{X,Y} | SOLAR_{X,Y}
CROTAj | ← | Image orientation angle | n.a. | n.a. | n.a. | n.a. | n.a. | SDO-HK plan | SDO-HK | ≡ level 0.8 | ≡ level 0.9 | compute
CRPIXj | ← | Reference pixel address | n.a. | n.a. | n.a. | n.a. | n.a. | compute | compute | ≡ level 0.8 | ≡ level 0.9 | compute
CRVALi | ← | Reference pixel world value |  |  |  | n.a. | n.a. | 0 | 0 | 0 | 0 | 0
CRDELi | ← | Pixel spacing, levels 0.x same for both axes, levels 1.x HMI compute from R_SUN, AIA use default | n.a. | telescope default | telescope default | telescope default | telescope default | compute | compute | ≡ level 0.8 | ≡ level 0.9 | compute
{X,Y}_CEN | ← | Boresite pointing wrt Sun center, e.g. XCEN = CRVAL1 + CDELT1 * [2048.5 - CRPIX1 ] | n.a. | n.a. | n.a. | n.a. | n.a. | compute from CRPIX | compute from CRPIX | ≡ level 0.8 | ≡ level 0.9 | ≡ level 0.9
R_SUN | ← | Radius of Sun in pixels | n.a. | estimate by date | ≡ level 0.1 | ≡ level 0.1 | ≡ level 0.1 | compute | compute | ≡ level 0.8 | ≡ level 0.9 | compute
FSN_FROM | ← | first filtergram used | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | actual | actual | actual
FSN_TO | ← | final filtergram used | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | actual | actual | actual
D_SUN |  | Distance to Sun in km
SUN_RAD |  | Radius of Sun in km

## HMI lev 0
HMI/AIA JSOC DataSeries Summary |  |  |  | 2007-05-03 12:06
Instrument | HMI | Level 0 |  | hmi_lev0
Purpose |  | Primary level-0 image collection as extracted from telemetry
Notes |  | Data extracted from High Speed bus image packets only.
Action/operation |  | Extract from .tlm
Source series |  | .tlm files
Segments Archived? |  | yes
Segment Retention |  | Permanent
Segments |  | scope | contents | type & protocol
| frame |  | 4096x4096 CCD image as observed | short, TBD compressed
Keywords, DRMS names |  | FITS export names | Keyword synopsis | Source
| DATE | ← | Record creation date | actual
| FSN | ← | Filtergram Serial Number | actual
| CAMERA | ← | HMI:0,1, AIA:0-3 | actual
| WAVELNTH | ← | HMI: 617.3, AIA: various
| T_OBS | ← | Time of observation (center) | est
| MISSVALS | ← | number of missing values | actual
| QUAL_TLM | ← | Quality flags from telemetry | actual
| QUAL_CFG | ← | Quality flags from inst/sdo config | n.a.
| CTYPEi | ← | Axis type | RAW
| CRDELi | ← | Pixel spacing, levels 0.x same for both axes, levels 1.x HMI compute from R_SUN, AIA use default | n.a.
| RO_MODE | ←
| TAPCODE | ←
| VERSION | ←
| PCKT_V | ←
| etc | ←

## lev 0.1
HMI/AIA JSOC DataSeries Summary |  |  |  | 2007-05-03 12:06
Instrument | HMI | LEVEL 0.1 |  | hmi.lev_01
Purpose |  | Quicklook support for ops
Notes |  | Adds image status packet and possibly other info from HSB HK data
Action/operation |  | Adds ISP HK data, links lev0 segments
Source series |  | hmi.lev_0
Segments Archived? |  | n.a.
Segment Retention |  | n.a.
Segments |  |  | contents | type & protocol
| frame |  | link to lev_0
Keywords, DRMS names |  | FITS export names | Keyword synopsis | Source
| DATE | ← | Record creation date | actual
| FSN | ← | Filtergram Serial Number | ≡ level 0
| CAMERA | ← | HMI:0,1, AIA:0-3 | ≡ level 0
| WAVELNTH | ← | HMI: 617.3, AIA: various | ≡ level 0
| T_OBS | ← | Time of observation (center) | ≡ level 0
| MISSVALS | ← | number of missing values | ≡ level 0
| QUAL_TLM | ← | Quality flags from telemetry | ≡ level 0
| QUAL_CFG | ← | Quality flags from inst/sdo config | ≡ level 0
| CTYPEi | ← | Axis type | ≡ level 0
| CRDELi | ← | Pixel spacing, levels 0.x same for both axes, levels 1.x HMI compute from R_SUN, AIA use default | ≡ level 0
| RO_MODE | ← |  | ≡ level 0
| TAPCODE | ← |  | ≡ level 0
| VERSION | ← |  | ≡ level 0
| PCKT_V | ← |  | ≡ level 0
| etc | ←
Shutter exposure times

## AIA lev 0
HMI/AIA JSOC DataSeries Summary |  |  |  | 2007-05-03 12:06
Instrument | AIA | Level 0 |  | aia.lev0_image
Purpose |  | AIA images as unpacked from telemetry
Notes
Action/operation |  | Unpack data values from .tlm files using only image header info
Source series |  | .tlm files
Segments Archived? |  | yes
Segment Retention |  | 30day
Segments |  |  | contents | type & protocol
| frame |  | 4096x4096 or stream of shorts for ROI modes | short, TBD
Keywords, DRMS names |  | FITS export names | Keyword synopsis | Source
| DATE | ← | Record creation date | actual
index | FSN | ← | Filtergram Serial Number | AHFSN
| CAMERA | ← | 1-4 | 2 MSB from AHFSN word + 1
←
| T_OBS | ← | Time of observation (center), TAI | AHTCS, AHTCSS
| MISSVALS | ← | number of missing values | actual
| QUAL_TLM | ← | Quality flags from telemetry | actual
| CTYPEi | ← | Axis type | "RAW"
| NUMWIN |  | 0: full frame so 2-D image, 1,2,3 ROI mode, 1-D image | AFDBNW
| INSTRUME | ← |  | "AIA"
| RO_MODE | ←
| TAPCODE | ←
| VERSION | ←
| PCKT_V | ←
←
| AHAPID | ← | Packet APID (11b; from HDR)
| AHTCS | ← | Time Code Seconds (32b; from HDR)
| AHTCSS | ← | Time Code Sub Seconds (32b; from HDR)
| AHFSN | ← | Frame Serial Number (30b; from HDR)
| AHT1RN | ← | Target 1 Row Number (7b; from HDR) for center pixel (to nearest 32nd row or column)
| AHT1CN | ← | Target 1 Column Number (7b; from HDR) for center pixel
| AHT2RN | ← | Target 2 Row Number (7b; from HDR) for center pixel
| AHT2CN | ← | Target 2 Column Number (7b; from HDR) for center pixel
| AHFDBID | ← | Frame Definition Block ID (8b; from HDR)
| AHTAPC | ← | TAP Code (4b; from HDR)
| AHBITID | ← | Bit Select ID (4b; from HDR)
| AHCPIDN | ← | Compression parameter n (4b; from HDR)
| AHCPIDK | ← | Compression parameter k (4b; from HDR)
| AHLUTID | ← | Lookup Table ID (8b; from HDR)
| AFDBID | ← | Frame Definition Block ID (8b; from GDB) | Frame Def table == AHFDBID
| AFCRM | ← | CCDReadoutMode (4b; from GDB) for number of ports: 1, 2, 4 (= 3, 2, 1) , a.ka. RO_MODE | Frame Def table
| AFDBSM | ← | SummingMode (4b; from GDB) for summing: 1x1, 2x2, 4x4 (= 0, 1, 2) | Frame Def table
| AFDBNW | ← | NumWindows (4b; from GDB) for number of ROI windows (= 0, 1, 2) | Frame Def table
| AFNR1 | ← | NumRows1 (16b; from GDB) for length of region 1 in pixels | Frame Def table
| AFNC1 | ← | NumCols1 (16b; from GDB) for height of region 1 in pixels | Frame Def table
| AFNR2 | ← | NumRows2 (16b; from GDB) for length of region 2 in pixels | Frame Def table
| AFNC2 | ← | NumCols2 (16b; from GDB) for height of region 2 in pixels | Frame Def table
| AFDBRL | ← | RowLength (16b; from GDB) for length of row for extracted regions | Frame Def table

## Master
HMI/AIA JSOC DataSeries Summary |  |  | 2007-05-03 12:06
Instrument
Purpose
Notes
Action/operation
Source series
Segments Archived?
Segment Retention
Segments |  | contents | type & protocol
Keywords, DRMS names | FITS export names | Keyword synopsis | Source